Site-Specific Safety Orientation & Training for New Personnel (HazCom Spaces)

Supervisor or Designated Trainer: Review and select topics below that are applicable to the employee/trainee.  Mark programs with a “Y” if applicable, or “NA” if not applicable. Add additional topics/programs under the “Other” column. Campus-wide applicable topics are identified with an “Y”. Review identified topics with trainee and provide or schedule training. Training must be completed prior to trainee engaging in hazardous tasks. Retain record for at least three years.

Employee/Trainee: Review applicable topics with Supervisor or Designated Trainer. Enter initial in “Trainee Initial” column once training is completed. Initial only if your questions regarding the material have been completely answered.

| Trainee (Name and Signature) |  | Date |  |
| --- | --- | --- | --- |
| Trainer (Name and Signature) |  | PI/Supervisor |  |

| Applicable? | Trainee Initial | Topic | Action |
| --- | --- | --- | --- |
| EMERGENCY PROCEDURES |  |  |  |
| Y |  | Emergency Action Plan | Review Emergency Action Plan. Demonstrate both paths to Emergency Assembly Area. |
| Y |  | Emergency Response Guide | Location(s) of flipchart guide, discuss scenario actions. |
| Y |  | Fire Alarm Pull Station | Show location(s) and proper activation. |
| Y |  | Injury Reporting | Review immediate reporting of work-related injuries and illnesses to supervisor. |
| Y |  | Phone | Location(s), detailed dialing instructions, ‘911’ dialing instructions, bomb threat card. |
| Y |  | Warn Me | Enroll in UC Davis Warn Me emergency alert system; recommend registering cellular phone number. |
| Y |  | Eye Wash/Safety Shower | Show location(s) and proper operation. |
| Y |  | First Aid Kits | Location(s) and description of contents. |
| Y |  | Spill Procedures | Show location of spill kit(s), SafetyNets #13 and #127 (if applicable), and describe procedures. |
| PROGRAMS |  |  |  |
| Y |  | Injury and Illness Prevention Program (IIPP) | Review content and location of IIPP; emphasis on annual review of Job Safety Analysis, injury and hazard reporting and training documentation. |
|  |  | Confined Space Entry (CSE) | Review Cal/OSHA requirements. Show confined space ‘permit-required’ locations, train on proper completion of the CSE permit and use of equipment and personal protective equipment (PPE). |
|  |  | Crane operation, hoisting and rigging | Per Cal/OSHA only qualified employees and trained employees can operate cranes and need training on Indoor Hoisting and Rigging. Review Cal/OSHA operating rules and UCD Crane, Hoist and Sling Safety Program |
|  |  | Electrical Safety | Complete Electrical Safety training; requirements for lockout and verification testing of energized equipment; if working “hot”, proper use of arc-rated clothing/PPE based on an NFPA 70e arc-flash assessment; and shock hazard analysis insulated tools. |
|  |  | Ergonomics | Train employee on proper body mechanics |
|  |  | Fall Protection Fall Protection continued | Review the UCD Fall Protection Program. Training to include proper inspection, use/wear of harnesses, lanyards, positioning or arrest. Review anchorage locations, proper use of beam wraps, and connections to existing SRL’s, existing vertical/horizontal lifelines, overhead systems, or cable/rope grabs. |
|  |  | Forklift and Aerial Lift Operations | Review required use of written pre-use inspection and site assessment forms. Training must include lecture and practical ‘hands on’ demonstration of skills. |
| Y |  | Hazard Communication Program | General HazCom Program and Department-Specific HazCom Program Summary location and content. Demonstrate electronic SDS access and describe repository of hard copies, if applicable. Maintain chemical inventory. |
|  |  | Hearing Conservation | Employees exposed at or above a time-weighted average of 85 dBA must participate in the Hearing Conservation Program |
|  |  | Heat Illness | Train employees who work outdoors on heat illness prevention |
|  |  | Lockout/Tagout (LOTO) | For employees ‘authorized’ to work on energized equipment, show the energy isolation, lockout locations for equipment, review Cal/OSHA requirements for lockout, and review of written LOTO procedures. |
|  |  | Operating Tractor | Review the operating rules and for hands on training. |
|  |  | Shop Safety Program | Review and train on the Shop Safety Manual, the site specific Shop Safety Plan, and equipment SOPs. |
|  |  | Welding and Cutting | Review the 72 hour hot work permit requirements. Provide Cal/OSHA compliant ventilation and respiratory protection as needed. |
|  |  | Other (describe) |  |
| PERSONAL PROTECTIVE EQUIPMENT |  |  |  |
| Y |  | Hazard Assessment | Review completed Job Safety Analysis (JSA) as per IIPP. See JSA/PPE Certification Forms. |
|  |  | PPE Certification | If PPE is identified in JSA, compete/review PPE certification form; provide PPE; demonstrate proper selection, use, care and storage. |
|  |  | Specific PPE | Protection for: Head Eye/Face Body Lungs Upper Extremity Lower Extremity Specific PPE:__________________ Respiratory program and fit testing is required for all respirator users. |
| OTHER |  |  |  |
|  |  | Chemical Fume Hood(s) | Demonstrate proper use, instruction on adjustable controls, flow sensor function, and training requirements. |
|  |  | Chemical Storage Location(s) | Location(s) and segregation rules, volume limits (>10 gallons requires flammable storage cabinet). |
|  |  | Compressed Gas Cylinders | Storage locations, regulators, transport, safety considerations. See also SafetyNet #60. |
|  |  | Glass & Sharps Waste Containers | Location(s) of accumulation area, demonstrate proper labeling, describe proper storage requirements, and detail pickup/removal procedures. |
|  |  | Hazardous Materials Management & Disposal | Overview of WASTe and hazardous waste procedures. Location(s) of accumulation area, demonstrate proper labeling, describe proper storage requirements, and detail pickup/removal procedures. |
|  |  | Ladders, Portable | Review Cal/OSHA requirements. Employees who use portable ladders must be trained prior to using ladder. LMS course is available. |
|  |  | Needle sticks | Train on needle and syringe safety |
|  |  | Safe Driver Awareness | For employees who drive on official University business |
|  |  | Specialized Equipment | List and review safety procedures for proper operation. e.g., UV light, laser, high voltage equipment, autoclave, cryogen handling. |